## BOM
Unit | Description | Part number | Rig qty | suggested spares | Qty to order | Item Cost | Rig cost | Rig unit subtotal | Spares cost | Spares Subtotal | Vendor | Old Quote # | Lead time | Comments | Inventor part file name | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19 | Column20 | Column21 | Column22 | Column23 | Column24 | Column25 | Column26 | Column27 | Column28 | Column29 | Column30 | Column31 | Column32 | Column33 | Column34 | Column35 | Column36 | Column37 | Column38 | Column39 | Column40 | Column41 | Column42 | Column43 | Column44 | Column45 | Column46 | Column47 | Column48 | Column49 | Column50 | Column51 | Column52 | Column53 | Column54 | Column55 | Column56 | Column57 | Column58 | Column59 | Column60 | Column61 | Column62 | Column63 | Column64 | Column65 | Column66 | Column67 | Column68 | Column69 | Column70 | Column71 | Column72 | Column73 | Column74 | Column75 | Column76 | Column77 | Column78 | Column79 | Column80 | Column81 | Column82 | Column83 | Column84 | Column85 | Column86 | Column87 | Column88 | Column89 | Column90 | Column91 | Column92 | Column93 | Column94 | Column95 | Column96 | Column97 | Column98 | Column99 | Column100 | Column101 | Column102 | Column103 | Column104 | Column105 | Column106 | Column107 | Column108 | Column109 | Column110 | Column111 | Column112 | Column113 | Column114 | Column115 | Column116 | Column117 | Column118 | Column119 | Column120 | Column121 | Column122 | Column123 | Column124 | Column125 | Column126 | Column127 | Column128 | Column129 | Column130 | Column131 | Column132 | Column133 | Column134 | Column135 | Column136 | Column137 | Column138 | Column139 | Column140 | Column141 | Column142 | Column143 | Column144 | Column145 | Column146 | Column147 | Column148 | Column149 | Column150 | Column151 | Column152 | Column153 | Column154 | Column155 | Column156 | Column157 | Column158 | Column159 | Column160 | Column161 | Column162 | Column163 | Column164 | Column165 | Column166 | Column167 | Column168 | Column169 | Column170 | Column171 | Column172 | Column173 | Column174 | Column175 | Column176 | Column177 | Column178 | Column179 | Column180 | Column181 | Column182 | Column183 | Column184 | Column185 | Column186 | Column187 | Column188 | Column189 | Column190 | Column191 | Column192 | Column193 | Column194 | Column195 | Column196 | Column197 | Column198 | Column199 | Column200 | Column201 | Column202 | Column203 | Column204 | Column205 | Column206 | Column207 | Column208 | Column209 | Column210 | Column211 | Column212 | Column213 | Column214 | Column215 | Column216 | Column217 | Column218 | Column219 | Column220 | Column221 | Column222 | Column223 | Column224 | Column225 | Column226 | Column227 | Column228 | Column229 | Column230 | Column231 | Column232 | Column233 | Column234
Base and head movement | 2x1.5 ft custom size breadboard, research grade, with MicroLock | 04SI67446 | 1 | 0 | 1 | 1595 | 1595 | 2441.07 |  | 0 | Newport | 1054528 | 6 wk |  | Newport-04SI67446_Custom2x1p5ftBreadboard.ipt
Base and head movement | Elliptical mirror, 33 x 46.7 x 9.37mm, protected silver | 13E20ER.2 | 1 | 0 | 1 | 189 | 189 | 2441.07 |  | 0 | Newport |  |  |  | Newport_13E20ER.2_EllipSilverMirror.ipt
Base and head movement | Single Diameter Compression Tool for 1/32" Copper, Zinc-Plated Copper Sleeve | 3377T23 | 1 | 0 | 1 | 45.07 | 45.07 | 2441.07 |  | 0 | McMaster |  |  | Tool for fixing wire rope. Alternate methods of attaching head to cylinder are possible, but should be secure to avoid head dropping.
Base and head movement | Galvanized Steel Multipurpose Strand Rope, 1 x 7, 1/32" Diameter, 185 lb Break Strength, 50 ft. Length | 3498T41 | 1 | 0 | 1 | 1 | 1 | 2441.07 |  | 0 | McMaster |  |  | For attaching head to air cylinder
Base and head movement | Zinc-Plated Copper Oval Compression Sleeve for 1/32" Rope Diameter, 1/4" Sleeve Length, packs of 50 | 3898T29 | 1 | 0 | 1 | 1 | 1 | 2441.07 |  | 0 | McMaster |  |  | For attaching head to air cylinder
Base and head movement | Precision Thrd HI-Pressure Brass Pipe Fitting 1/8" Pipe Size, Tee, Fem X Male X Fem, 2900 PSI | 9171K860 | 1 | 0 | 1 | 16.73 | 16.73 | 2441.07 |  | 0 | McMaster-Carr |  |  |  | McMaster_9171K860_Tee.ipt
Base and head movement | Check valve, low cracking pressure, 1/8" NPT | AKB01B-N01S | 1 | 0 | 1 | 9.56 | 9.56 | 2441.07 |  | 0 | Allied Electronics/SMC | 1000238402 | 3 wk
Base and head movement | Metering valve w/ silencer, 1/8" NPT port | ASN2-N01-S | 1 | 0 | 1 | 4.24 | 4.24 | 2441.07 |  | 0 | Allied Electronics/SMC | 1000238402 | stock
Base and head movement | Aluminum shaft with DryLin S coating, OD 16mm, 254mm long. | AWM-16 | 2 | 0 | 2 | 14.86 | 29.72 | 2441.07 |  | 0 | IGUS | D475384REV0 | 1 wk |  | IGUS_16mmRod.ipt
Base and head movement | NC(D)G, High Speed/Precision Cylinder, Double Acting, Single Rod w/Options | NCGBN25-0500 | 1 | 0 | 1 | 28.86 | 28.86 | 2441.07 |  | 0 | Allied Electronics/SMC | 1000238402 | 3 wk |  | SMC_NCDGGN25-0500-U07US_Cylinder.iam
Base and head movement | Shock absorber, small | RBC0805 | 1 | 0 | 1 | 28.84 | 28.84 | 2441.07 |  | 0 | Allied Electronics/SMC | 1000238402 | 3 wk |  | SMC_RBC0805_ShockAbsorberSmall.ipt
Base and head movement | Pillow block, 16mm | RJUME-05-16 | 3 | 0 | 3 | 52.55 | 157.65 | 2441.07 |  | 0 | IGUS | D475384REV0 | 4-6 wk |  | IGUS_RJUME-05-16_PillowBlock16mm.iam
Base and head movement | 95mm structural rail, length .25 m | XT95-250 | 4 | 0 | 4 | 56.1 | 224.4 | 2441.07 |  | 0 | Thorlabs |  |  |  | Thor_XT95-250_95mmStructuralRail.ipt
Base and head movement | XT95 mounting plate | XT95P3 | 4 | 0 | 4 | 27.5 | 110 | 2441.07 |  | 0 | Thorlabs |  |  |  | Thor_XT95P3_XT95MountingPlate.ipt
Blocking slit hardware | Translating Post Holder, Min Height L1=2.38", Max Height L2=2.83" | PH2T | 1 | 0 | 1 | 54 | 54 | 146 |  | 0 | Thorlabs |  |  |  | PH2T_TranslatingPostHolderShort.iam
Blocking slit hardware | Center Mount 3" Post Joist | PJ301 | 3 | 0 | 3 | 16 | 48 | 146 |  | 0 | Thorlabs |  |  |  | PJ301_CenterMount3inPostJoist.ipt
Blocking slit hardware | Reaching 3" Post Joist | PJ302 | 1 | 0 | 1 | 15 | 15 | 146 |  | 0 | Thorlabs |  |  |  | PJ302_Reaching3inPostJoist.ipt
Blocking slit hardware | Universal post holder, height 1" | UPH1 | 1 | 0 | 1 | 29 | 29 | 146 |  | 0 | Thorlabs |  |  |  | Thor_UPH1_UnivPostHolder.ipt
Cage | Magnet tape | 5759K36 | 15 | 0 | 15 | 0.43 | 6.45 | 926.09 |  | 0 | McMaster-Carr |  |  | Feel free to use other, preferred methods for cage construction
Cage | Magnet tape, per foot, 1/16" thick, adhesive backed, strong pull | 5759K47 | 120 | 0 | 120 | 0.6 | 72 | 926.09 |  | 0 | McMaster-Carr |  |  | Feel free to use other, preferred methods for cage construction
Cage | Anodized Al sheet, 0.032 x 48.00 x 96.00 5005, Black anodize 2 stp class I | none | 2 | 0 | 2 | 110.72 | 221.44 | 926.09 |  | 0 | SAF.com |  |  | 4'x8' sheets need to be cut to size for cage with sheet metal shear. High freight charge is free for orders of 7 or more sheets
Cage | Construction cube | RM1G | 8 | 0 | 8 | 13.4 | 107.2 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | Construction bracket | XE25A90 | 3 | 0 | 3 | 23.7 | 71.1 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | Table clamp | XE25CL2 | 3 | 0 | 3 | 11 | 33 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | Drop-In T-Nut, 1/4"-20 Tapped Hole, Qty: 10 | XE21T1 | 1 | 0 | 1 | 28 | 28 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | 1/4"-20 Low-Profile Channel Screws (100 Screws/Box) | SH25LP38 | 1 | 0 | 1 | 21.6 | 21.6 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | Construction rail, 30" long | XE25L30 | 4 | 0 | 4 | 24.5 | 98 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | Construction rail, 36" long | XE25L36 | 3 | 0 | 3 | 27.5 | 82.5 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | Construction rail, 48" long | XE25L48 | 4 | 0 | 4 | 34.7 | 138.8 | 926.09 |  | 0 | Thorlabs |  |  | Feel free to use other, preferred methods for cage construction
Cage | Blackout Fabric | BK5 | 1 | 0 | 1 | 46 | 46 | 926.09 |  | 0 | Thorlabs
Chromatic optics | IR stopping short pass filter | FF01-750/SP-30-D | 0 | 0 | 0 | 1200 | 0 | 1880 |  | 0 | Semrock |  | 1 Wk | Potentially helpful to stack with emission filters for IR blocking
Chromatic optics | Primary dichroic. | FF735-Di01-25x36 | 1 | 0 | 1 | 495 | 495 | 1880 |  | 0 | Semrock |  | 1 Wk
Chromatic optics | Secondary dichroic 35.5 x 50.2. Need to specify cutoff wavelength |  | 1 | 0 | 1 | 485 | 485 | 1880 |  | 0 | Semrock |  | 1 Wk | red/green secondary dichro. End user to specify filter coating. Need custom size: 35.5x50.2 mm. Easy to purchase custom size from Semrock.
Chromatic optics | Emission filter, channel 1, 30mm diam |  | 1 | 0 | 1 | 450 | 450 | 1880 |  | 0 | Semrock |  | 1 Wk | Emission filters need to have custom size 30mm diam. End user to specify filter coating. Easy to purchase custom size from Semrock. | EmissionFilter.ipt
Chromatic optics | Emission filter, channel 2, 30mm diam |  | 1 | 0 | 1 | 450 | 450 | 1880 |  | 0 | Semrock |  | 1 Wk | Emission filters need to have custom size 30mm diam. End user to specify filter coating. Easy to purchase custom size from Semrock.
Computer | Microsoft Visual Studio 2010 Professional w/MSDN | 2076506 | 1 | 0 | 1 | 591.51 | 591.51 | 4879.38 |  | 0 | CDW
Computer | Microsoft Windows 7 Professional SP1 64-bit | 2341134 | 1 | 0 | 1 | 141 | 141 | 4879.38 |  | 0 | CDW
Computer | Antec DF-85 Black Steel / Plastic ATX Full Tower Computer Case | N82E16811129087 | 1 | 0 | 1 | 139.99 | 139.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match probably not necessary
Computer | StarTech Model TX3SPLIT12 12" TX3 Fan Power Splitter Cable | N82E16812200455 | 1 | 0 | 1 | 6.99 | 6.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match probably not necessary
Computer | ASUS P9X79 WS LGA 2011 Intel X79 SATA 6Gb/s USB 3.0 SSI CEB Intel Motherboard with USB BIOS | N82E16813131798 | 1 | 0 | 1 | 379.99 | 379.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match probably not necessary
Computer | EVGA 04G-P4-2690-KR GeForce GTX 690 4GB 512-bit GDDR5 PCI Express 3.0 x16 HDCP Ready SLI Support Video Card | N82E16814130781 | 1 | 0 | 1 | 999.99 | 999.99 | 4879.38 |  | 0 | Newegg |  |  | May not be available. Nvidia GTX 680 or better should be used.
Computer | StarTech PCI Express to 4 Slot PCI Expansion System Model PEX2PCI4 | N82E16815158247 | 0 | 0 | 0 | 426.99 | 0 | 4879.38 |  | 0 | Newegg |  |  | This part needed extensive mods to case to fit PI motor control cards. Probably best to order StarTech PEX2PCIE4L (listed separately), although this is untested
Computer | COOLER MASTER Silent Pro Gold Series RSC00-80GAD3-US 1200W ATX 12V v2.3 / EPS 12V v2.92 SLI Ready CrossFire Ready 80 PLUS GOLD Certified Modular Active PFC Power Supply | N82E16817171055 | 1 | 0 | 1 | 239.99 | 239.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match probably not necessary
Computer | Intel Core i7-3930K Sandy Bridge-E 3.2GHz (3.8GHz Turbo) LGA 2011 130W Six-Core Desktop Processor BX80619i73930K | N82E16819116492 | 1 | 0 | 1 | 569.99 | 569.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match probably not necessary
Computer | OCZ Vertex 4 VTX4-25SAT3-512G.M 2.5" 512GB SATA III MLC Internal Solid State Drive (SSD) | N82E16820227820 | 2 | 0 | 2 | 394.99 | 789.98 | 4879.38 |  | 0 | Newegg |  |  | Exact match probably not necessary
Computer | G.SKILL Ripjaws Z Series 64GB (8 x 8GB) 240-Pin DDR3 SDRAM DDR3 1600 (PC3 12800) Desktop Memory Model F3-12800CL10Q2-64GBZL | N82E16820231508 | 1 | 0 | 1 | 314.99 | 314.99 | 4879.38 |  | 0 | Newegg |  |  | Nathan Clack advises that 16 GB would be sufficient.
Computer | Rosewill Illuminated Mechanical Gaming Keyboard RK-9100BR with Cherry MX Brown Switch - Retail | N82E16823201053 | 1 | 0 | 1 | 129.99 | 129.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match not necessary
Computer | Microsoft Basic Optical Mouse - Black | N82E16826105167 | 1 | 0 | 1 | 14.99 | 14.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match not necessary
Computer | LITE-ON Black SATA DVD-ROM Drive Model iHDS118-04 | N82E16827106276 | 1 | 0 | 1 | 19.99 | 19.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match not necessary
Computer | CORSAIR H100 (CWCH100) Extreme Performance Liquid CPU Cooler | N82E16835181017 | 1 | 0 | 1 | 114.99 | 114.99 | 4879.38 |  | 0 | Newegg |  |  | Exact match not necessary
Computer | PCI Express to 2 PCI & 2 PCIe Expansion Enclosure System - Full Length | PEX2PCIE4L | 1 | 0 | 1 | 425 | 425 | 4879.38 |  | 0 | StarTech.com |  |  | This part should work, as replacement for NewEgg N82E16815158247, but it is currently untested.
Custom mech parts | Holder for GSI 8kHz resonant mirror scanner on 30mm cage system, sealed. | J001061 | 1 | 0 | 1 | 1568 | 1568 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | ResMirrorHolder_Sealed.ipt
Custom mech parts | Spacer for PIFOC mount bracket, needed for fast volume imager rig. | J001078 | 1 | 0 | 1 | 43 | 43 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | SpacerForPIFOCHolderForFastVolImRig.ipt
Custom mech parts | Holder for Zeiss Axio Imager scan lens | J001160 | 1 | 0 | 1 | 270 | 270 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HolderForZeissAxioImagerScanLens.ipt
Custom mech parts | Riser piece for table-side base of head movement assembly | J001166 | 1 | 0 | 1 | 1060 | 1060 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HeadMovement_TableSideRiser.ipt
Custom mech parts | Holder for large spherical lens in det arm | J001167 | 1 | 0 | 1 | 443 | 443 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_LensHolder_ForPIFOCMountFromTopOnAutoSlicerRig.ipt
Custom mech parts | 30 mm to 60 mm Cage Plate Adapter, modified for clearance for mirr position meas beam | J001173 | 1 | 0 | 1 | 127 | 127 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | LCP02_30mmTo60mmCagePlateAdapter_ModForMsrmntBeam.ipt
Custom mech parts | Adapter frame for using Semrock std thickness dichroics in std MIMMS emission splitting dichroic cube. Dichroic still needs to be custom large length x width. | J001179 | 1 | 2 | 3 | 50 | 50 | 14371 | 100 | 1852 |  |  | 1 wk | Not strictly necessary. Will keep 1mm thick (Semrock std thickness) emission splitting dichroic from rattling around. Easiest to have 3d printed. | AdapterForSemrockEmissSplitDichro.ipt
Custom mech parts | XT95 mounting plate, MOD with 1/4-20 hole for mounting to table. | J001203 | 4 | 0 | 4 | 27.5 | 110 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | Thor_XT95P3_XT95MountingPlate_ModForAttachingToTable.ipt
Custom mech parts | Mount for Cambridge 6215H galvo scanning mirror on Thor LC6W cage cube. | JF-GM-AA0001 | 1 | 0 | 1 | 456 | 456 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | Cambridge6215GalvoMountOnThorLC6WCube.ipt
Custom mech parts | Table-side baseplate for head movement assembly | JF-GM-AA0005 | 1 | 0 | 1 | 715 | 715 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HeadMovement_BasePlate.ipt
Custom mech parts | Brace piece for table-side of head movement assembly | JF-GM-AA0006 | 2 | 0 | 2 | 140 | 280 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HeadMovement_Brace.ipt
Custom mech parts | Rest for microscope head in upper position | JF-GM-AA0008 | 1 | 0 | 1 | 182 | 182 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HeadMovement_StopRiser.ipt
Custom mech parts | Holder for lower ball contacts for head-side head movement assembly | JF-GM-AA0009 | 2 | 0 | 2 | 180 | 360 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HeadMovement_BallHolder.ipt
Custom mech parts | Head-side baseplate of head movement assembly | JF-GM-AA0010A | 1 | 0 | 1 | 2125 | 2125 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HeadMovement_HeadSideBaseMount.ipt
Custom mech parts | Mount piece for 180 deg turn compression latch | JF-GM-AA0011 | 1 | 0 | 1 | 185 | 185 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | HeadMovement_LatchHolder.ipt
Custom mech parts | Main mount plate for detection arm, with coarse z-movement (no z-stage) | JF-GM-AA0012A | 1 | 0 | 1 | 276 | 276 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_MountPlate_NoZStage.ipt
Custom mech parts | Holder for generic relay mirror from Zeiss tube lens to objective | JF-GM-AA0013 | 1 | 0 | 1 | 1000 | 1000 | 14371 |  | 1852 | Zera Development |  | 5 wk | Price guess | TubeLensToObjectiveMirrorHolder.ipt
Custom mech parts | Holder bracket for primary dichroic slider, with spring plunger for stop | JF-GM-AA0014 | 1 | 0 | 1 | 182 | 182 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DichroSliderHolderBracket_NoMotor.ipt
Custom mech parts | Custom cam for latch, Southco E3-41-15 (McMaster 1337A31) | JF-GM-AA0016 | 1 | 0 | 1 | 90 | 90 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | CustomCamForCompLatch.ipt
Custom mech parts | Holder for secondary (emission splitting) dichroic, bottom half | JF-SV-AF0009B | 1 | 1 | 2 | 443 | 443 | 14371 | 443 | 1852 | Zera Development |  | 5 wk | Order spares for "hot-swapping" emission splitting dichroics | DetPath_DichroCubeBottom.ipt
Custom mech parts | Holder for secondary (emission splitting) dichroic, top half | JF-SV-AF0010A | 1 | 1 | 2 | 358 | 358 | 14371 | 358 | 1852 | Zera Development |  | 5 wk | Order spares for "hot-swapping" emission splitting dichroics | DetPath_DichroCubeTop.ipt
Custom mech parts | Thin holder for det arm beam tube end | JF-SV-AF0011 | 1 | 0 | 1 | 150 | 150 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_DichroCubeTubeHolder.ipt
Custom mech parts | Mounting plate for det arm upper assembly | JF-SV-AF0012B | 1 | 0 | 1 | 157 | 157 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_LensFilterMountPlate.ipt
Custom mech parts | Holder for emission filters | JF-SV-AF0013B | 2 | 2 | 4 | 186 | 372 | 14371 | 372 | 1852 | Zera Development |  | 5 wk | Order spares for "hot-swapping" emission filters | DetPath_EmissionFilterHolder.ipt
Custom mech parts | Mount plate for H7422 PMT (with intermediate shims) | JF-SV-AF0014 | 2 | 0 | 2 | 91 | 182 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_RectangPMTMountPlate.ipt
Custom mech parts | Shim for adjusting H7422 PMT z-position | JF-SV-AF0016A | 4 | 4 | 8 | 55 | 220 | 14371 | 220 | 1852 | Zera Development |  | 5 wk | Order spares in case PMT focus needs to be changed | SquarePMTShim_RevA.ipt
Custom mech parts | Holder for large elliptical mirror in det arm | JF-SV-AF0017 | 1 | 0 | 1 | 375 | 375 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_MirrorHolderDan3.ipt
Custom mech parts | Wall for det arm large mirror holder, back side | JF-SV-AF0019 | 1 | 0 | 1 | 370 | 370 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_MirrorHolderWall.ipt
Custom mech parts | Wall for large mirror holder, near side, with slot for adding large emission filter. | JF-SV-AF0021A | 1 | 0 | 1 | 300 | 300 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_MirrorHolderWall_NearSide.ipt
Custom mech parts | Holder for aspheric condenser lens in DOM det arm | JF-SV-AF0022 | 2 | 0 | 2 | 186 | 372 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_AshpereLensHolder.ipt
Custom mech parts | Intermediate sliding mounting plate for H7422 PMT | JF-SV-AF0023 | 2 | 0 | 2 | 95 | 190 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_RectPMTSliderPlate.ipt
Custom mech parts | Mounting bracket for primary dichro slider assembly | JF-SV-AF0025 | 1 | 0 | 1 | 109 | 109 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_DichroSliderBracket_STMotor.ipt
Custom mech parts | Support for back of scan assembly. | JF-SV-AF0033A | 3 | 0 | 3 | 133 | 399 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | ScanAssemblyBackSupport.ipt
Custom mech parts | Blank 60mm cage plate, mod for OD 45mm Scan Lens mounting | JF-SV-AF0038 | 1 | 0 | 1 | 85 | 85 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | Thor_LCP03_Blank60mmCagePlate_MODForScanLens.ipt
Custom mech parts | Tube with slit for shading. (AF Optical part is no longer available). | JF-SV-AF0045 | 1 | 0 | 1 | 50 | 50 | 14371 |  | 1852 |  |  | 5 wk |  | AFOptical_T50-50_MODToMakeLargerTube.ipt
Custom mech parts | Primary dichroic holder, with reflected light trap | JF-SV-AF0047 | 1 | 0 | 1 | 358 | 358 | 14371 |  | 1852 | Zera Development |  | 5 wk |  | DetPath_PrimaryDichroHolder.ipt
Custom mech parts | Bracket for PIFOC on MIMMS det arm, part 1 | JF-XX-MI0022A | 1 | 1 | 2 | 262 | 262 | 14371 | 262 | 1852 | Zera Development |  | 5 wk |  | PiezoZ-ScanBracket.ipt
Custom mech parts | Bracket for PIFOC on MIMMS det arm, part 2 | JF-XX-MI0023 | 1 | 1 | 2 | 97 | 97 | 14371 | 97 | 1852 | Zera Development |  | 5 wk |  | PiezoZ-ScanBracket_Pt2.ipt
Detectors | Metal package, high QE (GaAsP) PMTs. SEL: QE 45% min. at 550nm and Dark counts 4000 cps MAX. @ 25 deg C | H10770PB-40 SEL | 2 | 2 | 4 | 4104 | 8208 | 8708 | 8208 | 8208 | Hamamatsu | QUO-02465-N4N3B3 | 7 mo! | Very important to order with QE selection. Order spares as desired. It will be possible to use any H10770PB-40 or H10770PA-40 PMT with this system. Also, parts have been designed to use R3896/R9110 PMTs as well. Contact Dan Flickinger for info about these alternate parts. | PMT_H7422P-40MOD.ipt
Detectors | 2 channel PMT controller |  | 1 | 0 | 1 | 500 | 500 | 8708 |  | 8208 | HHMI - JFRC: ID&F |  | 1-2 mo | Docs for this should be received separately from JFRC - ID&F (Steve Sawtelle).
Digitizers | NI SHC68-68-EPM cable, shielded. | 192061-02 | 2 | 0 | 2 | 139 | 278 | 18560 |  | 0 | NI
Digitizers | NI BNC-2090A, shielded rack-mount BNC connector block | 779556-01 | 2 | 0 | 2 | 439 | 878 | 18560 |  | 0 | NI
Digitizers | NI PCIe-6353, X Series Data Acquisition. | 781049-01 | 1 | 0 | 1 | 1449 | 1449 | 18560 |  | 0 | NI
Digitizers | 12 bit, 500 MS/s, 2 ch. 8-lane PCI Express Digitizer with 128 Meg dual-port memory and up to 1.4 GBs throughput | ATS9350-002-USD | 2 | 0 | 2 | 6995 | 13990 | 18560 |  | 0 | Alazar | AAAQ1292 | ??
Digitizers | Upgrade that allows external clocking on ATS9350 from 500 MHz down to 1 MHz | ATS9350-005-USD | 1 | 0 | 1 | 645 | 645 | 18560 |  | 0 | Alazar | AAAQ1292 ??
Digitizers | Mezzanine SyncBoard that allows four (4) ATS9350 cards to operate in Master/Slave mode | ATS9350-007-USD | 1 | 0 | 1 | 995 | 995 | 18560 |  | 0 | Alazar | AAAQ1292 ??
Digitizers | C/C++ and Visual BASIC SDK for ATS class digitizers |  | 1 | 0 | 1 | 325 | 325 | 18560 |  | 0 | Alazar | AAAQ1292 ??
DOM Det Arm | Small linear guide slider, stroke 30 mm, NDN2-40.30 | 570890868 | 1 | 0 | 1 | 334.22 | 334.22 | 758.68 |  | 126.36 | Schneeberger | HHMI_SST-111031-00 | 2 wk
DOM Det Arm | BG39, 1-2mm thk, non-im qual, 28mm diam | BG39_28MMDIAM | 1 | 0 | 1 | 50 | 50 | 758.68 |  | 126.36 | Chroma | MS04075 | 5 wk | Item description is integral part of part specification. | BG39Filter_28mmDiam.ipt
DOM Det Arm | Ashperic lens, f = 23mm (actually f = 27mm) | KPA034-C | 2 | 1 | 3 | 75 | 150 | 758.68 | 75 | 126.36 | Newport |  |  |  | LensNewport_KPA034-C.ipt
DOM Det Arm | Round metric captive panel screw, length 20 | M0103-SS | 1 | 1 | 2 | 2.56 | 2.56 | 758.68 | 2.56 | 126.36 | Mouser |  |  |  | RAF_M0103-SS_CaptiveScrewM3x21p5.ipt
DOM Det Arm | Big elliptical mirror 1.5" x 2.121", enhanced aluminum | NT32-134 | 1 | 0 | 1 | 84.5 | 84.5 | 758.68 |  | 126.36 | Edmund |  | ?? not in stock |  | MirrorModelEdmundG32-134.ipt
DOM Det Arm | Lens, f=100mm, diam = 50mm, VIS 0 coated, inked | NT49-284-INK | 1 | 0 | 1 | 113 | 113 | 758.68 |  | 126.36 | Edmund Optics |  |  |  | Edmund_NT49-284-INK_AcromatLensF100VIS0.iam
DOM Det Arm | SM30 Retaining ring. M30.5-0.5 threads probably | SM30RR | 2 | 4 | 6 | 12.2 | 24.4 | 758.68 | 48.8 | 126.36 | Thorlabs |  |  | Extras for placing between stacked emission filters | Thor_SM30RR_SM30RetainingRing.ipt
Electro-optic modulators | Pockels cell linear amplifier | 302 RM | 1 | 0 | 1 | 3650 | 3650 | 7600 |  | 0 | Conoptics | 110311493#2
Electro-optic modulators | IR Laser pockels cell | 350-80-02-BK | 1 | 0 | 1 | 3725 | 3725 | 7600 |  | 0 | Conoptics | 110311493#2 | 1 mo
Electro-optic modulators | Conoptics Mount Ring Set and Base Plate from model 101 | None given | 1 | 0 | 1 | 225 | 225 | 7600 |  | 0 | Conoptics | 110311493#2
General hardware. | Hex Nut | ANSI B 18.2.4.1 M - M4 x 0.7 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B 18.2.4.1 M - M4 x 0.7Style 1.ipt
General hardware. | Hex Nuts (Inch Series) Hex Jam Nut | ANSI B18.2.2 - 1/4 - 20 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.2.2 - 1_4 - 20(3).ipt
General hardware. | Plain Washer (Inch )Type A and B | ANSI B18.22.1 - 1/4 - narrow - Type B | 4 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.22.1 - 1_4 - narrow - Type B.ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - 1/4 - 20 UNC - 1 | 2 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | 1_4-1-UNC.ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - 1/4 - 20 UNC - 1 1/2 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3 - 1_4-20 UNC - 1.5(31).ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - 1/4 - 20 UNC - 5/8 HS HCS | 4 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3 - 1_4-20 UNC - 0.625(31).ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - No. 3 - 48 UNC - 3/8 HS HCS | 4 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3 - 3-48 UNC - 0.375(31).ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - No. 8 - 32 UNC - 3/8 HS HCS | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3 - 8-32 UNC - 0.375(31).ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - No. 8 - 32 UNC - 5/8 HS HCS | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3 - 8-32 UNC - 0.625(31).ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - No. 8 - 32 UNC - 9/16 | 2 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3 - 8-32 UNC - 0.5625(31).ipt
General hardware. | Hexagon Socket Head Cap Screw | ANSI B18.3 - No. 8 - 32 UNC - 9/16 HS HCS | 4 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3 - 8-32 UNC - 0.5625(31).ipt
General hardware. | Forged Socket Head Cap Screw - Metric | ANSI B18.3.1M - M2.5x0.45 x 6 | 2 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3.1M - M2.5x0.45 x 6(1).ipt
General hardware. | Forged Socket Head Cap Screw - Metric | ANSI B18.3.1M - M3x0.5 x 12 | 8 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3.1M - M3x0.5 x 12(1).ipt
General hardware. | Forged Socket Head Cap Screw - Metric | ANSI B18.3.1M - M3x0.5 x 16 | 8 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3.1M - M3x0.5 x 16(1).ipt
General hardware. | Broached Socket Head Cap Screw - Metric | ANSI B18.3.1M - M4x0.7 x 12 | 3 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.3.1M - M4x0.7 x 12(2).ipt
General hardware. | Hex Machine Screw Nut | ANSI B18.6.3 - 10 - 32 | 2 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.6.3 - 10 - 32(2).ipt
General hardware. | Hex Machine Screw Nut | ANSI B18.6.3 - 8 - 32 | 4 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ANSI B18.6.3 - 8 - 32(2).ipt
General hardware. | Hexagon socket set screw with cup point | ISO 4029 - M2.5 x 4 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | M2.5-4.ipt
General hardware. | Hexagon thin nuts (chamfered) - Product grades A and B | ISO 4035 - M2.5 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | M2.5.ipt
General hardware. | Hexagon thin nuts (chamfered) - Product grades A and B | ISO 4035 - M3 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | M3.ipt
General hardware. | Hexagon Socket Head Cap Screw | ISO 4762 - M2 x 4 | 6 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | M2-4.ipt
General hardware. | Hexagon Socket Head Cap Screw | ISO 4762 - M2.5 x 8 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | M2.5-8.ipt
General hardware. | Hexagon Socket Head Cap Screw | ISO 4762 - M3 x 10 | 3 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | M3-10.ipt
General hardware. | Hexagon Socket Head Cap Screw | ISO 4762 - M3 x 6 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ISO 4762 - M3 x 6ISO.ipt
General hardware. | Hexagon Socket Head Cap Screw | ISO 4762 - M4 x 8 | 1 |  |  |  | 0 | 0 |  | 0 |  |  |  |  | ISO 4762 - M4 x 8ISO.ipt
Hardware, could be categorized | 180 deg turn compression cam latch. Southco part# E3-41-15 | 1337A31 | 1 | 0 | 1 | 20.35 | 20.35 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_1337A31_180degCompressionLatch.iam
Hardware, could be categorized | Santoprene foam rubber cord, cut to length | 6322K12 | 1 | 0 | 1 | 0.38 |  | 441.35 |  | 515.76 | McMaster-Carr
Hardware, could be categorized | SS spring plunger, 10-32, no lock nose, w/o thread lock | 84935A260 | 1 | 0 | 1 | 10.33 | 10.33 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_84935A260_SpringPlunger.ipt
Hardware, could be categorized | Short Length SS Long-Nose Spring Plunger 5/8"-11 Thread, 7-50 lb Nose Force | 84985A91 | 1 | 0 | 1 | 7.85 | 7.85 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_84985A91_MediumSpringPlunger.ipt
Hardware, could be categorized | Dowel pin, steel, 3/8 x 1/2 in, sold in 10 packs | 90145A619 | 6 | 4 | 10 | 0.79 | 4.74 | 441.35 | 3.16 | 515.76 | McMaster-Carr |  |  |  | McMaster_90145A619_DowelPin.ipt
Hardware, could be categorized | 18-8 SS wire lockable socket head cap screw 10-32 x 0.5" | 90152A255 | 1 | 1 | 2 | 1 | 1 | 441.35 | 1 | 515.76 | McMaster-Carr |  |  |  | McMaster_90152A255_ScrewWHoleShort.ipt
Hardware, could be categorized | 18-8 SS wire lockable socket head cap screw 10-32 x 1" | 90152A261 | 1 | 1 | 2 | 1 | 1 | 441.35 | 1 | 515.76 | McMaster-Carr |  |  |  | McMaster_90152A261_ScrewWHoleLong.ipt
Hardware, could be categorized | Nylon Tip 18-8 SS Socket Set Screw 8-32 Thread, 1/8" Length | 90291A183 | 12 | 0 | 12 | 0.91 | 10.92 | 441.35 |  | 515.76 | MCMASTER |  |  |  | 90291A183_SS8-32NylonTipSetScrew.ipt
Hardware, could be categorized | Nylon Tip 18-8 SS Socket Set Screw 8-32 Thread, 3/16" Length | 90291A189 | 2 | 0 | 2 | 0.5 | 1 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_90291A189_SS#8-32SetScrewNylonTip.ipt
Hardware, could be categorized | Metric 18-8 Stainless Steel Large-Diameter Flat Washer, M3 Screw Size, 9MM OD, .7MM-.9MM Thick, packs of 100 | 91116A120 | 8 | 0 | 8 | 0.02 | 0.16 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_91116A120_M3WasherLargeDiameter.ipt
Hardware, could be categorized | Stainless steel dowel pin, 2mm diam, 8mm long | 91585A017 | 12 | 0 | 12 | 0.11 | 1.32 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_91585A017_DowelPinM2.ipt
Hardware, could be categorized | Stainless steel wave washer, M3 | 92168A101 | 8 | 42 | 50 | 0.05 | 0.4 | 441.35 | 2.1 | 515.76 | MCMASTER |  |  |  | 92168A101_WaveWasherM3.ipt
Hardware, could be categorized | M2x8, Socket head cap screw, flat head, 90 deg taper, ss | 93395A176 | 1 | 1 | 2 | 0.56 | 0.56 | 441.35 | 0.56 | 515.76 | McMaster-Carr |  |  |  | McMaster_93395A176_FlatHeadScrew.ipt
Hardware, could be categorized | PVC Hex Nut 5/8"-11 | 94806A044 | 1 | 0 | 1 | 3 | 3 | 441.35 |  | 515.76 | McMaster |  |  |  | McMaster_94806A044_5-8-11HexNut.ipt
Hardware, could be categorized | Chrome plated balls, sold in pack of 100 | 9528K19 | 3 | 0 | 3 | 0.09 | 0.27 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_9528K19_3-8inBall.ipt
Hardware, could be categorized | Natural gum rubber ball, 5/8" diam | 96385K61 | 1 | 0 | 1 | 0.59 | 0.59 | 441.35 |  | 515.76 | McMaster-Carr |  |  |  | McMaster_96385K61_GumRubberBall.ipt
Hardware, could be categorized | Cage rod, length 1/2", diam 6mm | ER05 | 3 | 1 | 4 | 4.94 | 14.82 | 441.35 | 4.94 | 515.76 | Thorlabs |  |  |  | Thor_ER_CageRod [Length=.5 in].ipt
Hardware, could be categorized | Cage rod, diam 6mm, length 1" | ER1 | 4 | 0 | 4 | 5.18 | 20.72 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_ER_CageRod [Length=1 in].ipt
Hardware, could be categorized | Cage rod, diam 6mm, length 6" | ER6 | 4 | 0 | 4 | 8.27 | 33.08 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_ER_CageRod [Length=6 in].ipt
Hardware, could be categorized | Cage rod, length 450mm, diam 6mm | G061212000 | 4 | 0 | 4 | 20 | 80 | 441.35 |  | 515.76 | Linos |  |  |  | Linos_G0612-_CageRod [Length=450 mm].ipt
Hardware, could be categorized | Adapter with External M27 x 0.75 Threads and Internal SM1 Threads | SM1A18 | 1 | 0 | 1 | 19.75 | 19.75 | 441.35 |  | 515.76 | THORLABS |  |  |  | SM1A18_AdapterSM1ToM27.ipt
Hardware, could be categorized | Calibrated ring-activated SM1 iris diaphragm | SM1D12C | 1 | 0 | 1 | 90.8 | 90.8 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_SM1D12C_RingSM1IrisDiaphragmCalibrated.ipt
Hardware, could be categorized | SM1 Lens Tube, 0.5 in long, one ret ring incl | SM1L05 | 1 | 0 | 1 | 12.59 | 12.59 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_SM1L05_SM1LensTube.ipt
Hardware, could be categorized | Retaining ring | SM1RR | 1 | 0 | 1 | 5 | 5 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_SM#RR_RetainingRings-02.ipt
Hardware, could be categorized | SM1 coupler, external thread | SM1T2 | 1 | 0 | 1 | 18.4 | 18.4 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_SM1T2_SM1Coupler.ipt
Hardware, could be categorized | SM2 lens tube, 3 in long, one retaining ring included | SM2L30 | 2 | 0 | 2 | 35.5 | 71 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_SM2L30_SM2LensTube.ipt
Hardware, could be categorized | .5" Post-Standard | TR075 | 2 | 0 | 2 | 5.7 | 11.4 | 441.35 |  | 515.76 | Thorlabs |  |  |  | Thor_Post_TR-01.ipt
Hardware, could be categorized | Buna-n o-ring. Size dash number 002 | 9542K112 | 3 | 0 | 3 | 0.1 | 0.3 | 441.35 |  | 515.76 | McMaster-Carr
Hardware, could be categorized | 30 mm Cage System Alignment Plate with Ø1 mm Hole | CPA1 | 0 | 1 | 1 | 12 | 0 | 441.35 | 12 | 515.76 | Thorlabs |  |  | Helpful for aligning/adjusting optics.
Hardware, could be categorized | 16 mm Cage Alignment Plate | SCPA1 | 0 | 1 | 1 | 12 | 0 | 441.35 | 12 | 515.76 | Thorlabs |  |  | Helpful for aligning/adjusting optics.
Hardware, could be categorized | 60 mm Cage Alignment Plate | LCPA1 | 0 | 1 | 1 | 17 | 0 | 441.35 | 17 | 515.76 | Thorlabs |  |  | Helpful for aligning/adjusting optics.
Hardware, could be categorized | Shearing Interferometer with a 5-10 mm Beam Diameter Shear Plate | SI100 | 0 | 1 | 1 | 389 | 0 | 441.35 | 389 | 515.76 | Thorlabs |  |  | Helpful for aligning/adjusting optics.
Hardware, could be categorized | IR Detector Card, 790 - 840 nm, 870 - 1070 nm, 1500 - 1590 nm | VRC4 | 0 | 1 | 1 | 73 | 0 | 441.35 | 73 | 515.76 | Thorlabs |  |  | Helpful for aligning/adjusting optics.
Microscope and table optics | SM1 aperture 30 mm cage plate | CP02 | 4 | 1 | 5 | 15.63 | 62.52 | 217.19 | 15.63 | 221.32 | Thorlabs |  |  |  | Thor_CP02_SM1Ap30mmCagePlate.ipt
Microscope and table optics | Cage rod, diam 6mm, length 4" | ER4 | 4 | 3 | 7 | 7.08 | 28.32 | 217.19 | 21.24 | 221.32 | Thorlabs |  |  |  | Thor_ER_CageRod [Length=4 in].ipt
Microscope and table optics | Cage rod, diam 6mm, length 8" | ER8 | 3 | 3 | 6 | 9.95 | 29.85 | 217.19 | 29.85 | 221.32 | Thorlabs |  |  |  | Thor_ER_CageRod [Length=8 in].ipt
Microscope and table optics | Ring-activated SM1 iris diaphragm | SM1D12D | 1 | 2 | 3 | 58.1 | 58.1 | 217.19 | 116.2 | 221.32 | Thorlabs |  |  |  | Thor_SM1D12D_RingSM1IrisDiaphragm_Solid.ipt
Microscope and table optics | .5" Post-Standard | TR1 | 1 | 1 | 2 | 5.7 | 5.7 | 217.19 | 5.7 | 221.32 | Thorlabs |  |  |  | Thor_Post_TR-02.ipt
Microscope and table optics | .5" Post-Standard | TR2 | 1 | 1 | 2 | 5.7 | 5.7 | 217.19 | 5.7 | 221.32 | Thorlabs |  |  |  | Thor_Post_TR-04.ipt
Microscope and table optics | Universal post holder, height 1" | UPH1 | 1 | 1 | 2 | 27 | 27 | 217.19 | 27 | 221.32 | Thorlabs |  |  |  | Thor_UPH1_UnivPostHolder.ipt
Monitors | Humanscale M8 Monitor Arm, Clamp Mt, Silver w Grey Trim, 8-42 lbs | 2178250 | 1 | 0 | 1 | 237.99 | 237.99 | 1675.99 |  | 0 | CDW |  |  | Can certainly be changed.
Monitors | DoubleSight LCD monitor - 30" | 2666752 | 1 | 0 | 1 | 1438 | 1438 | 1675.99 |  | 0 | CDW |  |  | Can certainly be changed.
Objective z-stage | LVPZT piezo amplifier/pos servo controller, cap sensor, 20-bit RS232 | E-665.CR | 1 | 0 | 1 | 6364 | 6364 | 14980 |  | 0 | Physik Instrumente | 109752.1-2 | 4-5 wk
Objective z-stage | Large aperture quicklock thread adapter, M27 x 0.75 | P-721.03A | 1 | 0 | 1 | 295 | 295 | 14980 |  | 0 | Physik Instrumente |  |  | Not necessary if sure that obj w/ this thread is very unlikely to be used.
Objective z-stage | Large Aperture QuickLock Thread Adapters, M32 x 0.75 | P-721.05A | 1 | 0 | 1 | 295 | 295 | 14980 |  | 0 | Physik Instrumente | 109752.1-2 |  | Not necessary if sure that obj w/ this thread is very unlikely to be used.
Objective z-stage | Large Aperture QuickLock Thread Adapters, M25 x 0.75 | P-721.11A | 1 | 0 | 1 | 295 | 295 | 14980 |  | 0 | Physik Instrumente | 109752.1-2 |  | Not necessary if sure that obj w/ this thread is very unlikely to be used.
Objective z-stage | Quick Lock Thread W0.8x1/36", RMS | P-721.12Q | 1 | 0 | 1 | 295 | 295 | 14980 |  | 0 | Physik Instrumente | 109752.1-2 |  | Not necessary if sure that obj w/ this thread is very unlikely to be used.
Objective z-stage | PIFOC long travel objective scanner, w/ objective ring removed, 250um trvl | P-725K103 | 1 | 0 | 1 | 7436 | 7436 | 14980 |  | 0 | Physik Instrumente | 109752.1-2 | 4-5 wk | Not necessary if sure that obj w/ this thread is very unlikely to be used. | PI_P-725K103_PIFOCWithNoStationaryRing_250umTravel.ipt
Objectives | Zeiss Objective W Plan-Apochromat 20x/1,0 DIC M27 70mm | 421452-9900-000 | 1 | 0 | 1 | 6760 | 6760 | 6760 |  | 0 | Zeiss |  |  |  | 421452-9900-000_ObjectiveW20x_1NA.ipt
Objectives | Zeiss objective "Plan-Apochromat" 40x/1.3 Oil DIC | 440752-9800 | 0 | 0 | 0 | 6760 | 0 | 6760 |  | 0 | Zeiss |  |  |  | Zeiss_440752-9800_Objective40x1.3NAOil.ipt
Optical line trigger stuff | Mounting Base, 1" x 3" x 3/8" | BA1 | 8 | 0 | 8 | 5.6 | 44.8 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Fixed Mount for 1" D-Shaped Mirrors | DMM1 | 1 | 0 | 1 | 55.6 | 55.6 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | 633 nm, f = 10.99 mm, NA = 0.25 FC/PC Fiber Collimation Pkg. | F220FC-B | 1 | 0 | 1 | 127.7 | 127.7 | 2796.44 |  | 0 | Thorlabs |  |  |  | F220FC-B_633nmFiberColimationPackage.iam
Optical line trigger stuff | Kinematic Mirror Mount For Ø1/2" D-Shaped Mirrors | KM05D | 2 | 0 | 2 | 50 | 100 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Lens Mount for Ø2" Optics, One Retaining Ring Included | LMR2 | 4 | 0 | 4 | 23.5 | 94 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Ø2" Protected Aluminum Mirror, 3.2 mm Thick | ME2-G01 | 4 | 0 | 4 | 28 | 112 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Patch Cable, FC/PC, 630 nm, PM, Panda Style, 2 m | P1-630PM-FC-2 | 1 | 0 | 1 | 157 | 157 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Si Switchable Gain Detector, 350-1100 nm, 17 MHz BW, 13 mm | PDA36A | 1 | 0 | 1 | 299 | 299 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | 1/2" Protected Silver D-Shaped Mirror | PFD05-03-P01 | 2 | 0 | 2 | 36 | 72 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | 1" Protected Silver D-Shaped Mirror | PFD10-03-P01 | 1 | 0 | 1 | 60 | 60 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Post Holder with Spring-Loaded Hex-Locking Thumbscrew, L = 2.00" | PH2 | 5 | 0 | 5 | 7.7 | 38.5 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Post Holder with Spring-Loaded Hex-Locking Thumbscrew, L = 3.00" | PH3 | 3 | 0 | 3 | 8.27 | 24.81 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Fiber Coupled Laser Source 635 nm, 2.5 mW, PM | S1FC635PM | 1 | 0 | 1 | 1560 | 1560 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Ø1/2" x 2" Stainless Steel Optical Post, 8-32 Stud, 1/4"-20 Tapped Hole | TR2 | 2 | 0 | 2 | 5.19 | 10.38 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | Ø1/2" x 2" Stainless Steel Optical Post, 8-32 Stud, 1/4"-20 Tapped Hole, 5 Pack | TR2-P5 | 1 | 0 | 1 | 24.65 | 24.65 | 2796.44 |  | 0 | Thorlabs
Optical line trigger stuff | 90° #8 Counterbored Ø1/2" Optical Construction Post | TR3C | 1 | 0 | 1 | 16 | 16 | 2796.44 |  | 0 | Thorlabs
PMT current preamp | custom Svoboda/ID&F amplifier |  | 4 | 0 | 4 | 200 | 800 | 800 |  | 0 | JFRC - ID&F |  | 1-2 mo | Docs for this should be received separately from JFRC - ID&F (Steve Sawtelle).
Rack and accessories | Tripp Lite 15ft DVI Dual Link Monitor Cable, Male to Male DVI-D, 15' | 1740992 | 1 | 0 | 1 | 16 | 16 | 2241.97 |  | 0 | CDW
Rack and accessories | Tripp Lite Surge Protector Rackmount 14 Outlet 15ft Cord 3840 Joules 1U RM | 413639 | 2 | 0 | 2 | 63.99 | 127.98 | 2241.97 |  | 0 | CDW
Rack and accessories | APC Smart-UPS 1500VA USB and Serial RM 2U 120V | 468489 | 3 | 0 | 3 | 576 | 1728 | 2241.97 |  | 0 | CDW |  |  | Not necessary if building UPS is available.
Rack and accessories | 1.75" Panel, 16 BNC Adapters Insulated W/ Rear Cable Minder | PR175B16CMB | 1 | 0 | 1 | 120 | 120 | 2241.97 |  | 0 | L-com
Rack and accessories | SKB 1SKB-R8W (8 Rack Spaces w/Wheels) | RotoRack8W | 1 | 0 | 1 | 249.99 | 249.99 | 2241.97 |  | 0 | Sweetwater |  |  | http://www.sweetwater.com/store/detail/RotoRack8W
Sample stages | PI DC-Motor Controller PC-Board, 4 Axes, PCI | C-843.41 | 0 | 0 | 0 | 5587 | 0 | 0 |  | 0 | Physik Instrumente | M0905-42M |  | These ARE needed, but should be included in separate parts list for sample/vibratome assembly. Check that this is so.
Sample stages | Precision translation stage, 4", DC-motor + ActiveDrive, 0.1um linear encoder | M-511.DD | 0 | 0 | 0 | 11635 | 0 | 0 |  | 0 | Physik Instrumente | M0905-42M |  | These ARE needed, but should be included in separate parts list for sample/vibratome assembly. Check that this is so. | PI_M-511_LinearStage.ipt
Scan assembly hardware | 16 mm Right angle kinematic cage mount | KCB05 | 1 | 0 | 1 | 108 | 108 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_KCB05_16mmRightAngleKinematicCageMount.ipt
Scan assembly hardware | 2 in right angle kinematic mirror mount | KCB2 | 1 | 0 | 1 | 148 | 148 | 1361.8 |  | 0 | THORLABS |  |  |  | KCB2_2inRightAngleKinnMirrMount.iam
Scan assembly hardware | 60 mm cage system cube with 6mm clearance holes | LC6W | 1 | 0 | 1 | 118 | 118 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_LC6W_60mmCageSystemCube.ipt
Scan assembly hardware | SM2 Cage plate, 60 mm, 1/2" thick | LCP01 | 7 | 0 | 7 | 29.8 | 208.6 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_LCP01_60mmCagePlateSM2.ipt
Scan assembly hardware | Horizontal cage platform | LCPM | 3 | 0 | 3 | 81 | 243 | 1361.8 |  | 0 | Thorlabs |  |  |  | *Varies*
Scan assembly hardware | Protected silver mirror, 0.5" diam | PF05-03-P01 | 1 | 0 | 1 | 29.6 | 29.6 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_PF05-03-P01_SilverMirror0p5in.ipt
Scan assembly hardware | Protected silver mirror, 2" diam | PF20-03-P01 | 1 | 0 | 1 | 98 | 98 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_PF20-03-P01_MirrorAg2in.ipt
Scan assembly hardware | Post holder, 1in tall | PH1 | 2 | 0 | 2 | 7 | 14 | 1361.8 |  | 0 | THORLABS |  |  |  | PH1_PostHolderSimple1in.iam
Scan assembly hardware | Retaining ring | SM05RR | 1 | 0 | 1 | 5 | 5 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_SM#RR_RetainingRings-01.ipt
Scan assembly hardware | Externally SM1-Threaded End Cap | SM1CP2 | 1 | 0 | 1 | 17 | 17 | 1361.8 |  | 0 | THORLABS |  |  |  | SM1CP2_SM1ThreadedEndCap.ipt
Scan assembly hardware | Retaining ring | SM2RR | 11 | -4 | 7 | 9.5 | 104.5 | 1361.8 |  | 0 | Thorlabs |  |  | You will have many extras from LCP01 purchases. | Thor_SM#RR_RetainingRings-03.ipt
Scan assembly hardware | SM2 coupler, external thread, comes w/ 2 SM2NT locking rings | SM2T2 | 1 | 0 | 1 | 33.7 | 33.7 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_SM2T2_SM2CouplerExternalThreads.ipt
Scan assembly hardware | 16mm cage plate with SM05 hole | SP02 | 1 | 0 | 1 | 13 | 13 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_SP02_16mmCagePlateWSM05Hole.ipt
Scan assembly hardware | Mini series cage rod, 4mm diam, 1/2" long | SR05 | 3 | 0 | 3 | 5.2 | 15.6 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_SR_4mmCageRod [Length=.5 in].ipt
Scan assembly hardware | UVFS broadband precision window, w/ NIR AR coating 650-1050nm | WG40530-B | 1 | 0 | 1 | 92.5 | 92.5 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_WG40530-B_FSWindow_650-1050.ipt
Scan assembly hardware | UVFS broadband precision window, w/ NIR AR coating 650-1050nm, 1in diam | WG41050-B | 1 | 0 | 1 | 113.3 | 113.3 | 1361.8 |  | 0 | Thorlabs |  |  |  | Thor_WG41050-B_1inFSWindow_650-1050.ipt
Scan lenses | Custom scan lens. F=60mm, 16deg max opt half ang | 55-S60-33T@680-1080nm | 1 | 0 | 1 | 6950 | 6950 | 7700 |  | 0 | Special Optics | 8136 | 14 w
Scan lenses | Ø50.8 mm, f=300.0 mm, Near IR Achromat, ARC: 650 - 1050 nm | AC508-300-B | 1 | 0 | 1 | 125 | 125 | 7700 |  | 0 | THORLABS |  |  |  | AC508-300-B.iam
Scan lenses | Ø50.8 mm, f=400.0 mm, Near IR Achromat, ARC: 650 - 1050 nm | AC508-400-B | 3 | 0 | 3 | 125 | 375 | 7700 |  | 0 | THORLABS |  |  |  | AC508-400-B.iam
Scan lenses | Ø50.8 mm, f=500.0 mm, Near IR Achromat, ARC: 650 - 1050 nm | AC508-500-B | 2 | 0 | 2 | 125 | 250 | 7700 |  | 0 | THORLABS |  |  |  | AC508-500-B.iam
Scan mirrors | CRS Resonant scanner, 8kHz, 4mm ap, silver coat, w/ driver & pix clock | 000-3015013 | 1 | 0 | 1 | 2895 | 2895 | 4340 |  | 0 | Cambridge Tech | quMLT05.10.12 | 6-8 wk |  | GSI_CRS8kHz_ResonantScanner.ipt
Scan mirrors | interconnect cable for 6200B connector to Servo A connector, 2m | 6010-36-080 | 1 | 0 | 1 | 50 | 50 | 4340 |  | 0 | Cambridge Tech | quMLT05.10.12
Scan mirrors | 6215 galvo scanner, +/-10 deg mech, +/-20 deg opt, AMP connector, slotted | 6215HM40B | 1 | 0 | 1 | 495 | 495 | 4340 |  | 0 | Cambridge Tech | quMLT05.10.12 |  |  | Cambridge_6215HGalvoAnd5mmMirror.iam
Scan mirrors | MicroMax series single axis class 1 driver, high power option | 671215H05LJ-1HP | 1 | 0 | 1 | 745 | 745 | 4340 |  | 0 | Cambridge Tech | quMLT05.10.12 | 6-8 wk
Scan mirrors | 5mm X mirror for 6215HM40, fused silica, lamb/4, S1 protected silver coat | 6M2005X20F025S1 | 1 | 0 | 1 | 155 | 155 | 4340 |  | 0 | Cambridge Tech | quMLT05.10.12 |  |  | Cambridge_6215HGalvoAnd5mmMirror.iam
scanning accessories | DC power supply, 0-35V, 0-6A, packaged w/ v and amp meters | BK1743B-ND | 2 | 0 | 2 | 539 | 1078 | 1678 |  | 0 | Digikey
scanning accessories | custom: res scanner driver mount |  | 1 | 0 | 1 | 300 | 300 | 1678 |  | 0 | ID&F |  | 1-2 mo | Docs for this should be received separately from JFRC - ID&F (Steve Sawtelle).
scanning accessories | custom: galvo driver mount |  | 1 | 0 | 1 | 300 | 300 | 1678 |  | 0 | ID&F |  | 1-2 mo | Docs for this should be received separately from JFRC - ID&F (Steve Sawtelle).
Shutters and shutter drivers | Post mounting adapter for NS15B shutter | 134 | 1 | 0 | 1 | 75 | 75 | 2200 |  | 0 | Vincent Assoc
Shutters and shutter drivers | Adapter cable, NS15B shutter to VDM1000 | 5103C | 1 | 0 | 1 | 125 | 125 | 2200 |  | 0 | Vincent Assoc
Shutters and shutter drivers | Shutter, 15mm aperture, ZM high power coating, bistable | NS15B1ZM0 | 1 | 0 | 1 | 975 | 975 | 2200 |  | 0 | Vincent Assoc | email from Richard St. Louis | 5 weeks
Shutters and shutter drivers | Shutter controller | VDM1000 | 1 | 0 | 1 | 1025 | 1025 | 2200 |  | 0 | Vincent Assoc
Table optics (advisory--diff for each setup) | Dielectric mirrors | ??? | 3 | 1 | 4 | 300 | 900 | 5350.52 | 300 | 1818.75 | Layertec |  | usually in stock | If you know what you're doing, it's usually a good idea to use dielectric, low GDD, ultra broadband mirrors right after the laser. These are best to buy at Layertec.
Table optics (advisory--diff for each setup) | BEAMSPLITTER,POLARIZING, 620-1000nm | 05FC16PB.5 | 1 | 0 | 1 | 280 | 280 | 5350.52 |  | 1818.75 | Newport |  |  | For sharing laser between two rigs. The table optics recommendations will assume that there is one laser only (~700-1080nm Ti:Sapph)
Table optics (advisory--diff for each setup) | Mounted Achromatic Half-Wave Plate Ø10.0 mm 690 - 1200 nm | AHWP05M-980 | 1 | 0 | 1 | 783 | 783 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Heavy-Duty Variable Height Clamp 1/4"-20 Tapped | CL2 | 2 | 5 | 7 | 6.5 | 13 | 5350.52 | 32.5 | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Table Clamp L-Shape | CL5 | 2 | 2 | 4 | 4 | 8 | 5350.52 | 8 | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Pillar post essentials kit | ESK21A | 0.5 | 0.5 | 1 | 2268.5 | 1134.25 | 5350.52 | 1134.25 | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 45° Mirror Mount for &Oslash;1" Kinematic Mirror Mounts | H45 | 2 | 0 | 2 | 32 | 64 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Mounted iris diaphragm | ID20 | 2 | 0 | 2 | 41 | 82 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Kinematic PRism mount | KM100P | 1 | 0 | 1 | 59.2 | 59.2 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Beam block | LB1 | 1 | 2 | 3 | 43 | 43 | 5350.52 | 86 | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | ND=3.0 filter, absorbtive | NE30B | 2 | 0 | 2 | 38 | 76 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 1.5" post, L=1.5" | P1.5 | 1 | 0 | 1 | 21.6 | 21.6 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 1.5" post, L=10" | P10 | 1 | 0 | 1 | 59.7 | 59.7 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 1.5" Mounting post base w/ slots | PB2 | 1 | 0 | 1 | 26.8 | 26.8 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Ø1" (Ø25.4 mm) Protected Silver Mirror 0.24" (6.0 mm) Thick | PF10-03-P01 | 6 | 0 | 6 | 51 | 306 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Polaris Kinematic Mirr Mount, 1" | POLARIS-K1 | 7 | 2 | 9 | 129 | 903 | 5350.52 | 258 | 1818.75 | Thorlabs |  | In Stock
Table optics (advisory--diff for each setup) | Slip-on post collar for 1/2" posts | R2 | 2 | 0 | 2 | 3.5 | 7 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Right angle post clamp | RA90 | 2 | 0 | 2 | 10.45 | 20.9 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Rotation Mount for Ø1" Optics One SM1RR Retaining Ring Included | RSP1 | 1 | 0 | 1 | 81.1 | 81.1 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 1/2" post, L=3" | TR3 | 3 | 0 | 3 | 5.42 | 16.26 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 1/2" post, L=4" | TR4 | 1 | 0 | 1 | 5.87 | 5.87 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 1/2" post, L=8" | TR8 | 2 | 0 | 2 | 8.12 | 16.24 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Universal Post Holder Spring-Loaded Locking Thumbscrew L = 2.00" | UPH2 | 2 | 0 | 2 | 29.8 | 59.6 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | 95 mm Construction Rail L = 500 mm | XT95-500 | 1 | 0 | 1 | 140 | 140 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Drop-On Rail Carriage for 95 mm Rails 1/4"-20 Tapped Holes | XT95P11 | 2 | 0 | 2 | 74 | 148 | 5350.52 |  | 1818.75 | Thorlabs
Table optics (advisory--diff for each setup) | Base Plate for 95 mm Rails | XT95P3 | 2 | 0 | 2 | 48 | 96 | 5350.52 |  | 1818.75 | Thorlabs
Tube lens | Tube lens 1,0x M38x0.5 Axio Imager, #425308 | 4253080000710000 | 1 | 0 | 1 | 364 | 364 | 364 |  | 0 | Zeiss | 120-36001321-2 | 5 wk, probably
Total | [6 empty] | 113177.48 |  | 12742.19 | [231 empty] | 0
[5 empty] | Total w/ spares |  | 125919.67

## OldPartsList
Custom machined parts
Item | Part Number | Description | Stock Number | QTY | Drawing Filename | REV | Filename |  | Notes
35 | DetPath_AshpereLensHolder_fl23_RevC | Det path secondary Lens Holder for f=23 lens |  | 2 | DetPath_AshpereLensHolder_fl23_RevC.idw | C | DetPath_AshpereLensHolder_fl23_RevC.ipt
7 | DetPath_DichroCubeTop | Secondary Dichroic Cube, top |  | 1 | DetPath_DichroCubeTop.idw |  | DetPath_DichroCubeTop.ipt
29 | DetPath_DichroSliderNanomotorPlate | Mounting Plate for primary dicroic motor setup |  | 1 | DetPath_DichroSliderNanomotorPlate_RevB.idw | B | DetPath_DichroSliderNanomotorPlate_RevB.ipt
9 | DetPath_EmissionFilterHolder | Emission Filter Holder |  | 4 | DetPath_EmissionFilterHolder.idw |  | DetPath_EmissionFilterHolder.ipt |  | Only need two, but it's best to make extras for making quick change emission filter sets
16 | DetPath_Tube | Light Shielding Tube |  | 1 | InVivoDetArm_Tube&TubeAdaptor.idw |  | DetPath_Tube.ipt |  | Can use part# T50-50 from AF Optical Inc to make this part. Reduced length (50 mm) is not a problem
106 | InVivoDetArm_Cover |  |  | 1 | InVivoDetArm_Cover.idw |  | InVivoDetArm_Cover.ipt
6 | InVivoDetArm_DichroCubeBottom | Secondary Dichroic Cube, bottom |  | 1 | InVivoDetArm_DichroCubeBottom.idw |  | InVivoDetArm_DichroCubeBottom.ipt
17 | InVivoDetArm_DichroCubeTubeHolder | Interface for shilding tube and bottom of dichro cube |  | 1 | InVivoDetArm_Tube&TubeAdaptor.idw |  | InVivoDetArm_DichroCubeTubeHolder.ipt
18 | InVivoDetArm_LensHolder | Det Arm primary Lens Holder (f=100) |  | 1 | InVivoDetArm_LensHolder.idw |  | InVivoDetArm_LensHolder.ipt
26 | InVivoDetArm_MainMountPlate | Plate connecting all det arm components to sutter stage |  | 1 | InVivoDetArm_MainMountPlate.idw |  | InVivoDetArm_MainMountPlate.ipt
5 | InVivoDetArm_MountPlatePlateForMounting | Mounting plate for upper assembly optics |  | 1 | InVivoDetArm_LensFilterMountPlate.idw |  | InVivoDetArm_MountPlatePlateForMounting.ipt
40 | InVivoDetArm_NanomotorSliderBracket_RevB | Bracket that connects primary dichro assbly to det arm |  | 1 | InVivoDetArm_NanomotorSliderBracket_RevB.idw |  | InVivoDetArm_NanomotorSliderBracket_RevB.ipt
27 | InVivoDetArm_ObjMountBracePlate | Structural piece for objective mount attachment |  | 1 | InVivoDetArm_ObjMountBracePlate.idw |  | InVivoDetArm_ObjMountBracePlate.ipt
43 | InVivoDetArm_PrimaryDichroicMount | Mount plate for det arm primary dichroic |  | 1 | InVivoDetArm_PrimaryDichroicMount.idw |  | InVivoDetArm_PrimaryDichroicMount.ipt
44 | InVivoDetArm_PrimaryDichroicMountBracket | Holding bracket for PrimaryDichroicMount |  | 1 | InVivoDetArm_PrimaryDichroicMountBracket.idw | A | InVivoDetArm_PrimaryDichroicMountBracket.ipt
96 | InVivoRig_DetArmBracket | Main piece for attaching det arm to microscope, with position adjustment |  | 1 | InVivoRig_DetArmBracket.idw |  | InVivoRig_DetArmBracket.ipt
115 | InVivoRig_FirstMirrorMountBracket | Piece to attach mirror directly to x-y microscope stage |  | 1 | InVivoRig_FirstMirrorMountBracket.idw |  | InVivoRig_FirstMirrorMountBracket.ipt
62 | InVivoRig_FrontMirrorMountAdapter | Piece to hold cage assembly for mirror between scan and tube lenses |  | 1 | InVivoRig_FrontMirrorMountAdapter.idw |  | InVivoRig_FrontMirrorMountAdapter.ipt
59 | InVivoRig_MainTopPlate | Large plate on top of columns |  | 1 | InVivoRig_MainTopPlate.idw |  | InVivoRig_MainTopPlate.ipt
92 | InVivoRig_OlympusScanLensHolder_RevA | Holder for olympus confocal system scan lens |  | 1 | InVivoRig_OlympusScanLensHolder_RevA.idw | A | InVivoRig_OlympusScanLensHolder_RevA.ipt |  | Alternate to InVivoRig_ZeissScanLensHolder
118 | InVivoRig_PeriscopeMirrorMountBracket | Bracket to hold laser beam periscope |  | 1 | InVivoRig_PeriscopeMirrorMountBracket.idw |  | InVivoRig_PeriscopeMirrorMountBracket.ipt
89 | InVivoRig_ScanMirrorMountAdapter | Holder for x-y scan mirror block and relay mirror |  | 1 | InVivoRig_ScanMirrorMountAdapter.idw |  | InVivoRig_ScanMirrorMountAdapter.ipt
119 | InVivoRig_TopCover | Sheet metal cover for top of microscope |  | 1 | InVivoRig_TopCover.idw |  | InVivoRig_TopCover.ipt
61 | InVivoRig_TopRailInterfacePlate_RevA | Large plate which Newport rail attaches to |  | 1 | InVivoRig_TopRailInterfacePlate_RevA.idw | A | InVivoRig_TopRailInterfacePlate_RevA.ipt
60 | InVivoRig_TopSidePanel | Long structural side rails for microscope top optics |  | 2 | InVivoRig_TopSidePanel.idw |  | InVivoRig_TopSidePanel.ipt
109 | InVivoRig_ZeissScanLensHolder_RevA | Holder for Zeiss scan lens |  | 1 | InVivoRig_ZeissScanLensHolder_RevA.idw | A | InVivoRig_ZeissScanLensHolder_RevA.ipt |  | Alternate to InVivoRig_OlympusScanLensHolder
| InVivoRigAlignmentAid | Adapter to center 30mm cage plate on hole below tube lens |  | 1 | InVivoRigAlignmentAid.idw |  | InVivoRigAlignmentAid.ipt
20 | Baseplate_NEATmotorStage-bottom | Plate which interfaces x-y stage to table |  | 1 | Baseplate_NEATmotorStage-bottom.idw |  | Baseplate_NEATmotorStage-bottom.ipt
21 | Baseplate_NEATmotorStage-top | Plate which attaches columns to x-y stage |  | 1 | Baseplate_NEATmotorStage-top.idw |  | Baseplate_NEATmotorStage-top.ipt
Make these parts to use old, twist/lock conical surface objective mount system
103 | InVivoDetArm_TwistLockObjHolderAdapter | Adapter to mount taper obj lock assy, twist/lock conical objective holder |  | 1 | InVivoDetArm_TwistLockObjHolderAdapter.idw |  | InVivoDetArm_TwistLockObjHolderAdapter.ipt
102 | taper obj lock assy | Objective holder and mount |  | 1 | Rob might have plans for this? |  | taper obj lock assy.iam
Make these parts for using H7422P-40MOD PMTs
11 | DetPath_RectangPMTMountPlate | Mounting plate for metal package PMT assemblies |  | 2 | DetPath_RectangPMTMountPlate.idw | C | DetPath_RectangPMTMountPlate.ipt
36 | DetPath_RectPMTSliderPlate_RevC | Intermediate plate for X-Y adjustment of metal package PMTs |  | 2 | DetPath_RectPMTSliderPlate_RevC.idw | C | DetPath_RectPMTSliderPlate_RevC.ipt
12 | SquarePMTShim | InVivoRig: Shim for adjusting H7422 PMT z-distance |  | 6 | SquarePMTShim.idw |  | SquarePMTShim.ipt |  | Design distance requires 2 per channel.
Make this part for mounting R3896 PMTs
DetPath_PMTR3896Holder.ipt | DetPath_PMTR3896Holder | Mounting holder for R3896 PMTs |  | 2 | DetPath_PMTR3896Holder.idw | B | DetPath_PMTR3896Holder.ipt
Purchased parts
Item | Part Number | Description | Stock Number | QTY | Est Cost | REV | Filename | Vendor | Quote # | Lead time
4 | SecondaryDichroic_35.5x50.2x2p5 | Secondary dichroic | 565DCXR--cust. Size | 1 | 250 |  | Dichroic35.5x50.2x2p5.ipt | Chroma | EK00524 | 1-2 week?
10 | EmissionFilter | Green emission filter | HQ510/70, OD30mm | 1 | 250 |  | EmissionFilter.ipt | Chroma | EK00524 | 5 weeks
10 | EmissionFilter | Red emission filter | HQ635/90, OD30mm | 1 | 275 |  | EmissionFilter.ipt | Chroma | EK00524 | 5 weeks
10 | EmissionFilter | Green emission filter/Schott glass | BG39, OD30mm | 1 | 50 |  | EmissionFilter.ipt | Chroma | EK00524 | 1-2 week?
10 | EmissionFilter | Emission filter for calcium imaging | BGG22, OD30mm | 1 | 50 |  | EmissionFilter.ipt | Chroma | EK00524 | 1-2 week?
13 | PMT_H7422P-40MOD | Metal package, high QE (GaAsP) PMTs. Modified to remove cooler, and increase collection angle. | H7422-40MOD | 2 | 2383.29 |  | PMT_H7422P-40MOD.ipt | Hammamatsu | sXo06-18028884 | 2 months
3 | LensMellesGriot_01LAO527 | Primary detection arm lens. Fl = 100.1 mm. Achromat | 01 LAO 527 | 1 | 95 |  | LensMellesGriot01LAO527.ipt | Melles Griot |  | 2 months
8 | LensNewport_KPA034-C | Aspheric lens. F = 23 mm | KPA034-C | 2 | 52 |  | LensNewport_KPA034-C.ipt | Newport |  | In stock
23 | Newport-CX95AS | 95mm rail carriage with tapped holes | CX95AS | 1 | 116 |  | Newport-CX95AS.ipt | Newport |  | In stock
53 | Newport-PRL-12 | Precision optical rail, 12 in. | PRL-12 | 1 | 183 |  | Newport-PRL-12.ipt | Newport |  | In Stock
54 | Newport-PRC-1 | Precision optical rail carrier. 1 in wide. | PRC-1 | 2 | 60 |  | Newport-PRC-1.ipt | Newport |  | In stock
55 | Newport-PRC-3 | Precision optical rail carrier. 3 in wide. | PRC-3 | 1 | 79 |  | Newport-PRC-3.ipt | Newport |  | In stock
57 | Newport-PRX | Precision optical rail indexing block | PRX | 2 | 44 |  | Newport-PRX.ipt | Newport |  | In stock
22 | Newport-X95-8inLong | 95 mm structural rails. Either custom ordered, or modified to 8 in long | X95-OPT-N0-N2-N0-N3 | 3 | 81.36 |  | Newport-X95-8inLong.ipt | Newport | Received email quote | 3-4 weeks
112 | Newport-422-1S |  | 422-1S | 2 |  |  | Newport-422-1S.ipt
31 | SchneebergerNDN2-40-301 and SchneebergerNDN2-40-302 | Linear slide. 40 mm long | NDN 2-40.30 | 1 | ??? |  | SchneebergerNDN2-40-301.ipt and SchneebergerNDN2-40-302.ipt | Schneeberger | Website down
14 | Sutter, single z stage | Single z-stage from Sutter, with higher load bearing capacity. | ??? | 1 |  |  | Sutter_ZStageFrontPlate.ipt and Sutter_ZStageBackPlate.ipt | Sutter | Get from Rick Ayer at Sutter | ??? Waiting
49 | CP03 | 35 mm aperture 30 mm cage plate | CP03 | 7 | $16.75 |  | Thor_CP03_35mmAp30CagePlate.ipt | Thorlabs
75 | Thor_CM1-E03_TurningCube | Mounted E03 turning mirror cube | CM1-E03 | 4 | $160.00 |  | Thor_CM1-E03_TurningCube.ipt | Thorlabs
77 | BB1-E03 | 1" Diam broadband dielectric mirror | BB1-E03 | 1 | $79.00 |  | Thor_BB1-E03_DielectricMirror.ipt | Thorlabs
88 | ER4 |  | ER4 | 4 | $7.45 |  | Thor_CageRod_ER [Length=4 in].ipt | Thorlabs
88 | ER2 |  | ER2 | 5 | 7.45 |  | Thor_CageRod_ER [Length=4 in].ipt | Thorlabs
88 | ER3 |  | ER3 | 3 | 6.95 |  | Thor_CageRod_ER [Length=4 in].ipt | Thorlabs
86 | ER6 |  | ER6 | 4 | $8.70 |  | Thor_CageRod_ER [Length=6 in].ipt | Thorlabs
120 | Thor_CL4_Clamp | Table clamp, small | CL4 | 1 | $5.50 |  | Thor_CL4_Clamp.ipt | Thorlabs
122 | Thor_CL5_Clamp | Clamp, L-shaped | CL5 | 1 | $4.20 |  | Thor_CL5_Clamp.ipt | Thorlabs
Optional for motorized primary dichroic
30 | NanoMotionHR1 | Ceramic servo motor | HR1-1-S | 1 | 205 |  | NanoMotionHR1.ipt | NanoMotion--Minarik | DF07212006-CZ03 (or CZ01) | In stock
33 | NanomotionCS-10-3_CeramicStrip | Ceramic strip | CS-10-3 | 1 | 32 |  | NanomotionCS-10-3_CeramicStrip1.ipt | NanoMotion--Minarik | DF07212006-CZ03 (or CZ01) | In stock
| **not in assembly** | AB-4 amplifier for (1) HR motor element | AB4-HR-E1 | 1 | 445 |  | **not drawn** | NanoMotion--Minarik | DF07212006-CZ03 (or CZ01) | In stock
| Modified purchased parts | [9 empty] | Drawing filename
23 | Newport-CX95AS-MOD | 95mm rail carriage with tapped holes. Mod for dog stop | CX95AS | 1 | 116 |  | Newport-CX95AS-MOD.ipt | Newport |  | In stock | Newport-CX95AS-MOD.idw
Additional purchased parts (needs work)
28 | InVivoDetArm_PrimaryDichroic |  |  | 1 |  |  | InVivoDetArm_PrimaryDichroic.ipt
2 | Objective20x/0.95 NA | Objective 20x/0.95 NA | 1-UB965 | 1 | 4200 |  | Objective2095.ipt | Olympus
19 | NEAT_XYR8080 | XYR8080 crossed roller stage | 112019P | 1 | 7100 |  | NEAT_XYR8080.iam
24 | Olympus_Trinoc_U-ETR-3 | Olympus trinoc | U-ETR-3 | 1 | 2789 |  | Olympus_Trinoc_U-ETR-3.ipt | Olympus | There is now a U-ETR-4, I think
47 | Olympus_ScanLensInsert | Olympus scan lens, found inside FV3-PLI2 | inside FV3-PLI2 | 1 | ??? |  | Olympus_ScanLensInsert.ipt | Olympus
51 | Cambridge_6210H-RH_Assembly |  |  | 1 | ??? |  | Cambridge_6210H-RH_Assembly.iam | Cambridge Technologies
108 | Zeiss_ScanLens | LSM510 Scan Lens, Part # 4530119011 | 510ScanLens | 1 | 5000 |  | Zeiss_ScanLens.ipt |  | Quote #: 109-80200019-1 to Karel
New tube lens?
Misc hardware
34 | ISO 4762 - M3 x 12 | Hexagon Socket Head Cap Screw |  | 8 |  |  | M3-12.ipt | Autodesk Inc.
107 | ISO 4762 - M3 x 6 | Hexagon Socket Head Cap Screw |  | 5 |  |  | M3-6.ipt
42 | ISO 4762 - M3 x 10 | Hexagon Socket Head Cap Screw |  | 1 |  |  | M3-10.ipt | Autodesk Inc.
104 | ISO 4762 - M3 x 16 | Hexagon Socket Head Cap Screw |  | 1 |  |  | M3-16.ipt
45 | ISO 4762 - M2 x 6 | Hexagon Socket Head Cap Screw |  | 2 |  |  | M2-6.ipt | Autodesk Inc. | Important
64 | ANSI B18.3 - 1/4 - 20 UNC - 1/2 | Hexagon Socket Head Cap Screw |  | 2 |  |  | 1_4-0.5-UNC.ipt
90 | ANSI B18.3 - No. 4 - 40 UNC - 1/2 | Hexagon Socket Head Cap Screw |  | 4 |  |  | #4-0.5-UNC.ipt
91 | ANSI B18.3 - 1/4 - 20 UNC - 3/8 | Hexagon Socket Head Cap Screw |  | 2 |  |  | 1_4-0.375-UNC.ipt
94 | ANSI B18.3 - 1/4 - 20 UNC - 3/4 | Hexagon Socket Head Cap Screw |  | 5 |  |  | 1_4-0.75-UNC.ipt
95 | ANSI B18.3 - 4-40 UNC x 0.45 | Hexagon Socket Set Screw - Cup Point |  | 1 |  |  | #4-0.45-UNC.ipt
97 | ISO 4762 - M6 x 16 | Hexagon Socket Head Cap Screw |  | 3 |  |  | M6-16.ipt
125 | ISO 4762 - M6 x 20 | Hexagon Socket Head Cap Screw |  | 1 |  |  | M6-20.ipt
98 | ANSI B18.3 - 1/4 - 20 UNC - 1 1/4 | Hexagon Socket Head Cap Screw |  | 8 |  |  | 1_4-1.25-UNC.ipt
101 | ASTM F436 - 1/4 | Washer A |  | 3 |  |  | 1_4.ipt
124 | ANSI B18.22 M - 6 N | Plain Washer |  | 2 |  |  | 6-13.ipt
|  | Hollow socket set screw, 1/4-20, 1/8" long | 91318A410 |  |  |  |  | McMaster-Carr
|  | Thumbscrew with shoulder, M3 | 92581A120 |  |  |  |  | McMaster-Carr